Retrieval advances of BrO/SO2 molar ratios from NOVAC

Elsa Wilken (1), Florian Dinger (1,2), Nicole Bobrowski (1,2), Simon Warnach (1,2), Ulrich Platt (1,2)*
(1) Institute for Environmental Physics, University of Heidelberg, Germany
(2) Max-Planck Institute for Chemistry, Germany

Abstract

Within the Network for Observation of Volcanic and Atmospheric Change (NOVAC) automatically scanning UV-spectrometers are installed at more than 30 40 volcanoes recording spectra of back-scattered solar radiation spectra. The emissions of BrO and SO2 can be retrieved from those spectra by applying Differential Optical Absorption Spectroscopy (DOAS) and comparing the optical absorption of the volcanic plume to the background. Therefore, the background spectrum must not be affected by volcanic influence. Classically, the background spectrum is taken from the same scan but from a elevation angle which has been identified to be outside of the volcanic plume. However, experience shows those background spectra can still be contaminated by volcanic gases.
For accurate retrievals, it is mandatory to ﬁnd a a Frauenhofer Fraunhofer reference spectrum (FRS) whichis required. If the reference region for any reason is contaminated by volcanic trace gases, the reference spectrum has to be replaced by a volcanic-gas-free reference. Alternatively reference spectra can be derived from 1) a theoretical solar atlas spectrum or 2) a volcanic-gas-free reference spectrum recorded in the temporal proximity by the same instrument. The first option comes with the drawback of reduced precision, as the instrumental effects have to be modeled and added to the retrieval. Since typical amounts of BrO are close to the detection limit, the loss of precision makes the first option impractical. For the second option, the alternative reference spectrum should be recorded at similar conditions with respect to meteorology and radiation. We combine both options in order to achieve both, enhanced accuracy while maintaining the maximum possible precision of the SO2 and BrO retrievals.
We present an analysis of the impact of different external parameters on the ﬁt quality quality of the DOAS results when evaluating spectra using a solar atlas spectrum. Results from the Tungurahua and Nevado Del Ruiz volcanoes are presented.